Insertion Loss of a Filter

by Bruce A. Black with changes by Mark A. Yoder, Ed Doering and Bruce A. Black

Objectives

This laboratory project has three objectives:

- To compute insertion loss from a filter model.

- To measure the insertion loss of an actual filter.

- To learn how to use the automated lab equipment and Agilent VEE (Visual Engineering Environment).

Equipment

Agilent 33120A Function Generator

Agilent 34401A Digital Multimeter

Oscilloscope

50  termination

BNC T-connector

“Orange” filter

Laptop Computer with VEE I/O libraries, instrument drivers, and runtime software installed

Background

Figure 1 shows a signal generator connected to a load resistor.  The value of load resistance has been chosen for maximum power transfer.  Figure 2 shows a filter inserted between the generator and the load.

+

Figure 1:Signal Generator Connected to a Load Resistor

+

Filter

Figure 2:A Filter Inserted Between the Generator and the Load

The insertion loss of a filter is a measure of the power lost when the filter is inserted.  Insertion loss is defined as the ratio of power that the generator can deliver directly to a matched load to the power delivered to the same load when the filter is inserted between the generator and the load.  Insertion loss is usually expressed in decibels according to the formula

where Pdirect is the power delivered directly to the load without the filter, and Pfilter is the power delivered to the load with the filter in place.

The “Orange” filters are designed so that when one of them is inserted between a signal generator having a 50  output resistance and a 50  load there will be maximum power transfer to the load for generator frequencies below about 3.5 kHz.  Ideally there should be no power transferred to the load when the generator frequency is above about 3.5 kHz.  In fact, the filters only approximate this ideal performance.  In carrying out this lab project you will discover how well the filters actually achieve their design goal.

Fig. 3 shows the circuit inside each of the orange boxes.  Each box includes a 50  load resistor which can be placed across the filter output by means of a switch.  You can use an ohmmeter to help figure out which switch position enables the 50  load.  As an alternative, you can open the switch and use a 50  BNC termination instead of the built-in resistor.  The 50  source resistance is built in to the laboratory function generators.

Figure 3:The “Orange” Filter Circuit

+

“Orange” Box

Signal Generator

Pre-Lab

1.	Before building or using a circuit it is good to have some idea what the circuit does.  To this end, compute the insertion loss as a function of frequency for the circuit of Fig. 3 (with the 50  load resistor included).  Plot the insertion loss versus frequency (frequency on the horizontal axis) for frequencies from 0 to 5 kHz.  Record your calculations and a plot of the insertion loss in your lab notebook.  You may use Matlab or Excel to create the plot.  Your plot should be taped in your notebook as shown in the Lab Manual handout.  (Note:  VEE produces output that is easy to read into Matlab or Excel.  Using either of these will make it easy to add measured data to your pre-lab calculations in lab.)

Turn in a photocopy of the prelab section of your lab notebook at the start of the class before lab.  When you use a computer to calculate the insertion loss, it is a good practice to save the file that generated the plot.  You can then add your lab data and produce a graph showing both predicted and measured values.

2.	Before you can run VEE on your laptop computer, you will need to install the VEE I/O libraries, the instrument drivers, and the VEE runtime software.  Instructions for doing this will be in the class folder.  Complete the installation before coming into lab.

Procedure

This laboratory project will be performed in the Circuits Laboratory, room D-115, using your laptop computers and the computer-controlled instrumentation.

- Record in your laboratory notebook the number of your filter and the identifying number of each piece of laboratory equipment that you use.  These numbers will come in handy if you have to return to the laboratory to gather additional data or to investigate suspicious results.  Once you have characterized your filter, you will probably wish to use the same filter in future laboratory projects.

- Use the Agilent 33120A Function Generator to drive your filter. To determine the insertion loss, first put the 50  termination directly on the output of the function generator.  Set the voltage across the termination to a convenient value, say one volt.  Then insert the filter between the function generator and the termination and measure the voltage again.  Note that the filter input voltage is not measured!  Use the Agilent 34401A Digital Multimeter to measure the termination voltages.  Use an oscilloscope to verify that the waveforms have an undistorted sinusoidal shape.  Determine the frequency at which the insertion loss is 3 dB.  Compare the measured 3 dB frequency with the 3 dB frequency predicted by your pre-lab plot.

- Measure the insertion loss at two additional frequencies, one below the 3 dB frequency and one above it.  You will use these measurements to check the computer results obtained in the next step.  Produce a new version of your pre-lab plot, and add the three measured insertion loss data points.

- Refer to the handout “The VEE Insertion Loss Measurement Program” below to learn how to use VEE to measure insertion loss.  Measure the insertion loss of the orange filter over the range 100 Hz to 5 kHz, and plot the results.  Make sure the VEE measurements agree with the measurements you made in the previous steps.  The insertion loss should be very small at low frequencies, and should rise smoothly as the frequency increases past 3.5 kHz.  Add your VEE data to your plot so that the pre-lab data, the hand-measurements, and the automated measurements can be compared.  Tape this plot in your lab notebook.

- The performance of a filter can depend on the proper termination being used.  If the switch on the orange box is set to remove the 50  resistor, then the filter will be terminated by the input resistance of the multimeter.  (What is the value of this termination?)  Measure insertion loss vs. frequency when the filter is terminated only by the multimeter (or by the multimeter and oscilloscope).  Obtain a hard copy of your plot and add it to your notebook.

Report

Write a paragraph in your lab notebook summarizing your findings.  How well do your measurements agree with your pre-lab calculations?  Can you quantify the difference?  Also include an explanaton of the graph of insertion loss vs. frequency that you obtained in Step 5.  What would negative insertion loss imply physically?  Is there another explanation you can propose?

Hand in your lab notebook at the end of the lab period.

The VEE Insertion Loss Measurement Program

by Bruce A. Ferguson

The lab equipment in D115 is able to be used as a collection of instruments for measurement controlled by the user accessing the front panel, just as you have used lab equipment in the past.  The equipment may also be used in an automated fashion through computer control.  This automated mode is most convenient when the measurement process involves a large number of simple or repetitive steps.

The lab bench is configured for interfacing with your laptop computer as shown below.  The components of the automated system include:

- Laptop Computer with USB port or LAN connection

- Control software

- GPIB/USB or GPIB/LAN interface unit

- Test equipment with GPIB interface

Figure 1.  The equipment configuration in D115 uses a USB to GPIB interface to accommodate communication between the laptop and the equipment.

Your laptop will need the following software in order to make the automated measurements:

- VEE I/O libraries

- Instrument drivers

- VEE Runtime software

- Insertion Loss VEE program (runtime version – insertion_loss.vxe)

You should have installed the first three items already.  The insertion loss program is available from the course webpage.  Copy the VXE program to your laptop and begin the instructions on the following page.  You may also choose to install the VEE programming environment.  In that case, you could run the program from within VEE (download insertion_loss.vee).

The VEE program “insertion_loss” automates the process of taking insertion loss measurements versus frequency.  The user sets up the frequency sweep and the program takes the appropriate data.  The user is then prompted to either save the data, rerun the program, or terminate the program.  Instructions are given below, and the program itself is given on the following pages.

Instructions (assumes the appropriate software is installed)

- Turn on the AG 33120 Function Generator and AG 34401 DMM.  Note that once the VEE program starts, control of these two lab units is taken away from their front panels - the unit must be turned off and back on to access front panel settings (such as when using the instrument  for stand-alone measurements).

- Connect FG output to circuit input, and circuit output to DMM input.  Check that appropriate power has been supplied to the circuit.  Be sure you have connected the circuit output correctly to the DMM!

- Start the VEE program.  If using the run-time version, simply double-click the icon.  If using the VEE development environment, click the run button after loading the program.

- Set the FG output amplitude using the sliding scale or number box in the "Amplitude" box.  This is a 0-Peak amplitude setting in the program, and must be converted to Peak-Peak before being sent to the FG and adjusted for impedance matching.  Also keep in mind that the DMM is reading RMS voltages.  These conversions are all accounted for within the program.

- Press the “Begin” button. You will be prompted to set the frequency span and step for the sweep. Choose an appropriate range and step, noting the number of sample points (the number of points is found by calculating (Thru-From)/Step).

- The program will execute by looping through the frequency values.  For each value, the FG frequency is set, the DMM reads the output voltage level, the data point is collected and displayed, and the loop process repeats.  Once this loop is complete, the data is put into arrays and prepared for exporting to a data file if desired.

- When data collection is completed, a beep will sound, and you will be asked to choose either to save the data, restart the program and take new data, or to terminate the program.  If the save option is chosen, the data will be exported to the indicated file, and you will be given the choice to restart or terminate.  Note:  be mindful of where you save your data file so that you can work with it later.

The insertion loss VEE program is described on the following pages.  While understanding this code is not required for you to use the run-time program, it is included here in case you are interested in how VEE automation works.

The insertion_loss program is divided into three parts.  The first part sets up the measurement by asking for user input.  The instructions given above are included in the notepad block (1).  The “until break” block (2) repeats the program until asked to stop.  The FG signal amplitude is set using a slider (3), and the frequency start, stop, and step are input from the user.  The FG and DMM are initialized to begin the measurement process (4).  The amplitude is converted from 0-Pk to Pk-PK and RMS values for further use in the program (5).

This portion of the program performs the frequency response measurements and collects the data.  The program controlled by a loop (7), which calculates the appropriate frequency value.  The frequency is sent to the FG, and the DMM is polled for a voltage reading (8).  The voltage data is normalized to the input voltage and converted to dBV (9) before being displayed on a plot (10).  Step by step, the data is also gathered into arrays (11). Both the plot and the arrays are cleared if the user selects to restart the program.

The final portion is executed once the frequency sweep loop is finished and the data is collected into arrays.  The user is prompted (13) for a choice between saving the data, restarting the program (and clearing the arrays and plot), or stopping the program.  If the user chooses to restart or stop (14) the program either repeats via the next block, or stops.  If the user desires to save the data, a filename is requested (15), and the data is put into a two dimensional array (16). The data is then saved in text form as comma-separated values (17).  Once the file is created, the user is asked to choose between restarting or stopping the program (18).