| Mechanical Engineering | ME 409 Air Conditioning |
| --- | --- |

| Catalog Description |  |
| --- | --- |
|  | Human comfort and the properties of air. Air conditioning in residences, public and industrial buildings using vapor compression and absorption units. Cooling loads, psychrometry, fans, duct sizing and layout, automatic control, and acoustic design considerations. |

| Instructor(s) |  |
| --- | --- |
|  | D. E. Richards |

| Required/Elective |  |
| --- | --- |
|  | Elective |

| Class/Laboratory Schedule |  |
| --- | --- |
|  | Four 50-minute lectures per week |

| Prerequisites |  |
| --- | --- |
|  | ES 202 – Fluid & Thermal Systems and ME 302 – Heat Transfer or consent of instructor |

| Textbook(s) |  |
| --- | --- |
|  | F. C. McQuiston, J. D. Parker, and J. D. Spitler. Heating, Ventilating, and Air Conditioning: Analysis and Design, 6th ed., John Wiley & Sons, 2005 |

| Course Objectives |  |  |
| --- | --- | --- |
|  | After successful completion of this course, students should |  |
|  |  | • be able to define and use standard HVAC terminology • recognize the ASHRAE Handbooks as significant source of information • use a psychrometric chart as a tool for problem solving. • understand the unique problems of cooling load calculations and correctly assess the impact of solar radiation on the cooling load. • use standard procedures to calculate the heating and cooling load for a structure. • use standard procedures to select and locate air diffusers and exhausts. |

| Course Topics |  |
| --- | --- |
|  | Air conditioning systems Moist air properties and conditioning processes Heat transmission in building structures Space heating load Solar radiation Cooling load – radiant time series method Energy calculations and building simulation Space air diffusion Air distribution |

| Lab Topics |  |
| --- | --- |
|  | None |

| ABET Criteria |  |
| --- | --- |
|  | This course primarily addresses ABET Criteria a, e, i, and k. |

| Program Outcomes |  |
| --- | --- |
|  | Problem Solving - An ability to apply the skills and knowledge necessary for mathematical, scientific, and engineering practices 1. Inspect and define the problem. 2. Identify the basic principles and concepts that apply to the situation. 3. Use appropriate resources to locate pertinent information. 4. Build appropriate model(s). 5. Solve the problem by choosing appropriate tools. (analytical, experimental, and numerical) 6. Check a solution using appropriate criteria. Cotinue to Learn and Educate One's Self 1. Learn new information independently. |

| Professional Component |  |
| --- | --- |
|  | This course provides 4 credits of engineering science, 0 credits of basic science, 0 credits of basic math, and 0 credit of engineering design. |

| Prepared by |  |
| --- | --- |
|  | Donald E. Richards, 3/17/06 |